## Sheet1
Form Section | From Field | Manual imput | Calculated | Comments
1. Servicing Contractor Info | Technician Name | x
| Email | x
| Technician Mobile Number | x
| Company Name | x
| Street Address | x
| City | x
| State | x
| Zip Code | x
| Company Phone Number | x
| Submit This Info sheet To | x
2. Homeowner Info | Homeowner Name | x
| Street Address | x
| City | x
| State | x
| Zip Code | x
3. JSIS Type and Equipment Data | Select the JSIS type | x
| Select the system configuration | x
| Air Handler/Furnace Model # | x
| Air Handler/Furnace Serial # | x
| Air Handler/Furnace Location | x
| Air Handler/Furnace Air Flow Direction | x
| Problem Descrition - Sumary | x
| Problem Descrition - Corrctive Actions Taken | x
| Accesories Installed | x
4. Air Temperatures | Outdoor Air Temperature | x
| Indoor Dry Bulb Temperature | x
5. Refrigerant Data | Refrigerant Type | x
| Other Type of Refrigerant | x
| High Side - Gauge Pressure | x
| High Side - Physical Temperature | x
| High Side - Saturation Temperature | x | x | Provide formula
| High Side - Sub-cooling Value | x | x | Provide formula
| Low Side - Gauge Pressure | x
| Low Side - Physical Temperature | x
| Low Side - Saturation Temperature | x | x | Provide formula
| Low Side - Superheat Value | x | x | Provide formula
6. Refrigerant Line Temperatures | Compressor Line Temperatures - Suction Line Temperature | x
| Compressor Line Temperatures - Discharge Line Temperature | x
| Outdoor Unit Coil Temperatures - Inlet Line Temperature | x
| Outdoor Unit Coil Temperatures - Discharge Line Temperature | x
| Filter Drier Temperatures - Inlet Line Temperature | x
| Filter Drier Temperatures - Discharge Line Temperature | x
| Indoor Unit Coil Temperatures - Inlet Line Temperature | x
| Indoor Unit Coil Temperatures - Discharge Line Temperature | x
7. Electrical Data | Voltage Phase | x
| Supply Voltage: Neutral-L1 | x |  | Provide valid data range, if applicable
| Supply Voltage: Neutral-L2 | x |  | Provide valid data range, if applicable
| Supply Voltage: Neutral-L3 | x |  | Provide valid data range, if applicable
| Supply Voltage: L1-L2 | x | x | L1 - L2
| Supply Voltage: L1-L2 | x | x | L2 - L3
| Supply Voltage: L1-L2 | x | x | L1 - L3
| Compressor Amps - L1 Terminal | x |  | Provide valid data range, if applicable
| Compressor Amps - L2 Terminal | x |  | Provide valid data range, if applicable
| Compressor Amps - L3 Terminal | x |  | Provide valid data range, if applicable
| Compressor Amps - Common Winding | x |  | Provide valid data range, if applicable
| Compressor Amps - Run Winding | x |  | Provide valid data range, if applicable
| Compressor Amps - Start Winding | x |  | Provide valid data range, if applicable
8. Airflow Data | Airflow Test Method | x
| Supply Side Static Pressure | x
| Return Side Static Pressure | x
| Total External Static Pressure | x | x | Provide formula
| Calculated CFM | x | x | Provide formula. We have two different scenarios: 1. Airflow Test Method = Static Pressure 2. Airflow Test Method = Temperature Rise
| Measured Heating Element Voltage | x
| Measured Heating Element Amperage | x
| Supply Temperature | x
| Return Temperature | x
| Measured Temperature Rise | x | x | Provide formula
| Approximate Height Above Sea Level | x
| Total Supply CFM | x
| Total Return CFM | x
| Flowhood Test Method | x
9. Additional Data | Liquid Line Size | x
| Vapor Line Size | x
| Total Length | x
| Vertical Separation | x